# System  4200 SLIDER with THERMAL BREAK

Supply and fitinng of sliding windows and doors comprising of 6063 aluminium alloy profiles and T5 thermal break.

The frame and sash have a section area of 60 / 65 / 77 / 80 mm (dual rail, 106 / 126 (triple rail) and 33 (curved sash) / 37 (straight sash) mm respectively.  The average aluminium profile wall thickness is 1,5 mm.

The aluminium profiles are designed to be thermally broken which is achieved by inserting ……….. wide 6.6 polyamide isolation strips for the frame and 14.6 mm wide strips for the sash, reinforced with 25% fibre glass.

Classifications achieved at test centre*:

Air permeability according to EN 12207:2000		Class  3

Water tightness according to EN 12208:2000 		Class  7A

Wind resistance according to EN 12210:2000		Class  C5

* Test reference 1,20  x 1,20 m. 2 Sashes.

Surface Finish:

-Powder coating in ..……….   carried out with a complete cycle that includes de-greasing, strip clean in a bath of caustic soda, wash, controlled oxidisation, drying and thermocoated using polyester powder applied electrostatically and a subsequent curing at 200 ° C. The quality of the paint coating is guaranteed by the QUALICOAT seal of approval and the thickness is between 60 & 100 microns.

-Anodized, finish………..  colour............ carried out with a complete cycle that includes de-greasing, wash, anodic oxidation, coloring and sealing operations. The thickness and quality of the anodic coating is guaranteed by EWAA-EURAS seal with a minimum class……... microns.